## Sheet1
REQUESTED ITEM #1
500' 12-Strand OM4 Multimode Indoor Plenum rated metal clad Corning, existing cabling must be full channel solution or equivalent, fiber run between two network closets.
Quantity | Turnkey Installed Parts Description | Unit Cost | Total Cost
1 | 500' 12-Strand 50/125 OM4 Indoor Plenum Rated Metal Clad Fiber | 0 | 0
125 | 2" Caddy J-Hooks or Equivalent | 0 | 0
2 | 12 Port LC Duplex Loaded LIU, existing cabling must be full channel solution or equivalent | 0 | 0
24 | LC Multimode CommScope Systimas, Panduit or Equivalent Fiber Connector | 0 | 0
2 | 2 Meter LC Multimode Fiber Jumpers, existing cabling must be full channel solution or equivalent | 0 | 0
1 | Labor for Turnkey Installation With Test Results | 0 | 0
|  | Total | 0
REQUESTED ITEM #2
1,000' 12-Strand 50/125 OM4 Multimode Indoor Plenum rated metal clad Corning, existing cabling must be full channel solution or equivalent, fiber run between two network closets
Quantity | Turnkey Installed Parts Description | Unit Cost | Total Cost
1 | 1,000' 12-Strand 50/125 OM4 Indoor Plenum Rated Metal Clad Fiber | 0 | 0
250 | 2" Caddy J-Hooks or Equivalent | 0 | 0
2 | 12 Port LC Duplex Loaded LIU, existing cabling must be full channel solution or equivalent | 0 | 0
24 | LC Multimode, existing cabling must be full channel solution or equivalent Fiber Connector | 0 | 0
2 | 2 Meter LC Multimode Fiber Jumpers, existing cabling must be full channel solution or equivalent | 0 | 0
1 | Labor for Turnkey Installation With Test Results | 0 | 0
|  | Total | 0
REQUESTED ITEM #3
1,500' 12-Strand 50/125 OM4 Multimode Indoor Plenum rated metal clad Corning, existing cabling must be full channel solution or equivalent, fiber run between two network closets
Quantity | Turnkey Installed Parts Description | Unit Cost | Total Cost
1 | 500' 12-Strand 50/125 OM4 Indoor Plenum Rated Metal Clad Fiber | 0 | 0
375 | 2" Caddy J-Hooks or Equivalent | 0 | 0
2 | 12 Port LC Duplex Loaded LIU, existing cabling must be full channel solution or equivalent | 0 | 0
24 | LC Multimode, existing cabling must be full channel solution or equivalent Fiber Connector | 0 | 0
2 | 2 Meter LC Multimode Fiber Jumpers Commschope Systimax, Panduit or Equivalent | 0 | 0
1 | Labor for Turnkey Installation With Test Results | 0 | 0
|  | Total | 0
REQUESTED ITEM #4
500' 12-Strand 50/125 OM4 Multimode Indoor Plenum rated metal clad Corning, existing cabling must be full channel solution or equivalent, fiber run between two network closets
Quantity | Turnkey Installed Parts Description | Unit Cost | Total Cost
1 | l,000' 12-Strand 50/125 OM4 Indoor Plenum Rated Metal Clad Fiber | 0 | 0
125 | 2" Caddy J-Hooks or Equivalent | 0 | 0
2 | 12 Port LC Duplex Loaded LIU (existing cabling must be full channel solution or equivalent) | 0 | 0
48 | LC Multimode existing cabling must be full channel solution or equivalent fiber connector | 0 | 0
2 | 2 Meter LC Multimode Fiber Jumpers, existing cabling must be full channel solution or equivalent | 0 | 0
1 | Labor for Turnkey Installation With Test Results | 0 | 0
|  | Total | 0
REQUESTED ITEM #5
1,000' 24-Strand 50/125 OM4 Multimode Indoor Plenum rated metal clad Corning, existing cabling must be full channel solution or equivalen,t fiber run between two network closets
Quantity | Turnkey Installed Parts Description | Unit Cost | Total Cost
1 | l,000' 24-Strand 50/125 OM4 Indoor Plenum Rated Metal Clad Fiber | 0 | 0
250 | 2" Caddy J-Hooks or Equivalent | 0 | 0
2 | 24 Port LC Duplex Loaded LIU (existing cabling must be full channel solution or Equivalent) | 0 | 0
48 | LC Multimode (existing cabling must be full channel solution or equivalent) Fiber Connector | 0 | 0
2 | 2 Meter LC Multimode Fiber Jumpers, existing cabling must be full channel solution or equivalent | 0 | 0
1 | Labor for Turnkey Installation With Test Results | 0 | 0
|  | Total | 0
REQUESTED ITEM #6
1,500' 24-Strand 50/125 OM4 Multimode Indoor Plenum rated metal clad Corning, existing cabling must be full channel solution or equivalent, fiber run between two network closets
Quantity | Turnkey Installed Parts Description | Unit Cost | Total Cost
1 | l,500' 24-Strand 50/125 OM4 Indoor Plenum Rated Metal Clad Fiber | 0 | 0
250 | 2" Caddy J-Hooks or Equivalent | 0 | 0
2 | 24 Port LC Duplex Loaded LIU, existing cabling must be full channel solution or equivalent | 0 | 0
48 | LC Multimode, existing cabling must be full channel solution or equivalent Fiber Connector | 0 | 0
2 | 2 Meter LC Multimode Fiber Jumpers, existing cabling must be full channel solution or equivalent | 0 | 0
1 | Labor for Turnkey Installation With Test Results | 0 | 0
|  | Total | 0
REQUESTED ITEM #7
2,500' Corning, existing cabling must be full channel solution or equivalent, 24-Strand OS2 Single Mode Outdoor Fiber Run between two network closets via existing 2" conduit with string
Quantity | Turnkey Installed Parts Description | Unit Cost | Total Cost
1 | 2,500' 24-Strand 24 Strand OS2 Single Mode Outdoor Fiber, existing cabling must be full channel solution or equivalent | 0 | 0
50 | 2" Caddy J-Hooks or Equivalent | 0 | 0
2 | 24 Port LC Duplex Loaded LIU, existing cabling must be full channel solution or equivalent | 0 | 0
48 | LC Multimode, existing cabling must be full channel solution or equivalent Fiber Connector | 0 | 0
2 | 2 Meter LC Multimode Fiber Jumpers, existing cabling must be full channel solution or Equivalent | 0 | 0
2 | 2 Strand Fan Out Kits | 0 | 0
1 | Labor for Turnkey Installation With Test Results | 0 | 0
|  | Total | 0
REQUESTED ITEM #8
125' Corning, existing cabling must be full channel solution or equivalent, Cat6a plenum rated network cable from MDF/IDF closet through drop ceiling to camera location located in ceiling
Quantity | Turnkey Installed Parts Description | Unit Cost | Total Cost
1 | 125' Corning, existing cabling must be full channel solution or equivalen, Cat6a plenum rated cable | 0 | 0
35 | 2" Caddy J-Hooks or Equivalent | 0 | 0
1 | RJ45 Cat6a Mod plug | 0 | 0
1 | Cat6a, existing cabling must be full channel solution or equivalent Gigaspeed modular jack | 0 | 0
2 | 3/4" firewall passage sleeves caulked with fire putty | 0 | 0
1 | T-Bar with 4" square 2-1/8" deep | 0 | 0
1 | 1' Cat6a patch cord, existing cabling must be full channel solution or equivalent | 0 | 0
1 | Labor for Turnkey Installation With Test Results | 0 | 0
|  | Total | 0
REQUESTED ITEM #9
225' Corning, existing cabling must be full channel solution or equivalent, Cat6a plenum rated network cable from MDF/IDF closet through drop ceiling to camera location located in ceiling
Quantity | Turnkey Installed Parts Description | Unit Cost | Total Cost
1 | 225' Corning, existing cabling must be full channel solution or equivalent, Cat6a plenum rated cable | 0 | 0
60 | 2" Caddy J-Hooks or Equivalent | 0 | 0
1 | RJ45 Cat6a Mod plug | 0 | 0
1 | Cat6a Gigaspeed modular jack, existing cabling must be full channel solution or equivalent | 0 | 0
2 | 3/4" firewall passage sleeves caulked with fire putty | 0 | 0
1 | T-Bar with 4" square 2-1/8" deep | 0 | 0
1 | 1' Cat6a patch cord, existing cabling must be full channel solution or equivalent | 0 | 0
1 | Labor for Turnkey Installation With Test Results | 0 | 0
|  | Total | 0
REQUESTED ITEM #10
325' Corning, existing cabling must be full channel solution or equivalent, Cat6a plenum rated network cable from MDF/IDF closet through drop ceiling to camera location located in ceiling
Quantity | Turnkey Installed Parts Description | Unit Cost | Total Cost
1 | 325' Corning, existing cabling must be full channel solution or equivalent Cat6a plenum rated cable | 0 | 0
80 | 2" Caddy J-Hooks or Equivalent | 0 | 0
1 | RJ45 Cat6a Mod plug | 0 | 0
1 | Cat6a existing cabling must be full channel solution or equivalent Gigaspeed modular jack | 0 | 0
2 | 3/4" firewall passage sleeves caulked with fire putty | 0 | 0
1 | T-Bar with 4" square 2-1/8" deep | 0 | 0
1 | 1' Cat6a patch cord, existing cabling must be full channel solution or equivalent | 0 | 0
1 | Labor for Turnkey Installation With Test Results | 0 | 0
|  | Total | 0
REQUESTED ITEM #11
125' Corning, existing cabling must be full channel solution or equivalent, Cat6a plenum rated network cable from MDF/IDF closet through drop ceiling to terminated in classroom
Quantity | Turnkey Installed Parts Description | Unit Cost | Total Cost
1 | 125' Corning, existing cabling must be full channel solution or equivalent Cat6a plenum rated cable | 0 | 0
35 | 2" Caddy J-Hooks or Equivalent | 0 | 0
2 | Cat6a Gigaspeed modular jack, existing cabling must be full channel solution or equivalent | 0 | 0
2 | 3/4" firewall passage sleeves caulked with fire putty | 0 | 0
1 | 10' EMT conduit with 4" square 2-1/8" deep electrical box | 0 | 0
1 | 2 port faceplate with blank, existing cabling must be full channel solution or equivalent | 0 | 0
1 | 1' Cat6a patch cord, existing cabling must be full channel solution or equivalent | 0 | 0
1 | Labor for Turnkey Installation With Test Results | 0 | 0
|  | Total | 0
REQUESTED ITEM #12
225' Corning, existing cabling must be full channel solution or equivalent, Cat6a plenum rated network cable from MDF/IDF closet through drop ceiling to terminated in classroom
Quantity | Turnkey Installed Parts Description | Unit Cost | Total Cost
1 | 225' Corning, existing cabling must be full channel solution or equivalent Cat6a plenum rated cable | 0 | 0
60 | 2" Caddy J-Hooks or Equivalent | 0 | 0
2 | Cat6a Gigaspeed modular jack, existing cabling must be full channel solution or equivalent | 0 | 0
2 | 3/4" firewall passage sleeves caulked with fire putty | 0 | 0
1 | 10' EMT conduit with 4" square 2-1/8" deep electrical box | 0 | 0
1 | 2 port faceplate with blank, existing cabling must be full channel solution or equivalent | 0 | 0
1 | 1' Cat6a patch cord, existing cabling must be full channel solution or equivalent | 0 | 0
1 | Labor for Turnkey Installation With Test Results | 0 | 0
|  | Total | 0
REQUESTED ITEM #13
325' Corning, existing cabling must be full channel solution or equivalent, Cat6a plenum rated network cable from MDF/IDF closet through drop ceiling to terminated in classroom
Quantity | Turnkey Installed Parts Description | Unit Cost | Total Cost
1 | 325' Corning, existing cabling must be full channel solution or equivalent Cat6a plenum rated cable | 0 | 0
80 | 2" Caddy J-Hooks or Equivalent | 0 | 0
2 | Cat6a Gigaspeed modular jack, existing cabling must be full channel solution or equivalent | 0 | 0
2 | 3/4" firewall passage sleeves caulked with fire putty | 0 | 0
1 | 10' EMT conduit with 4" square 2-1/8" deep electrical box | 0 | 0
1 | 2 port faceplate with blank, existing cabling must be full channel solution or equivalent | 0 | 0
1 | 1' Cat6 patch cord, existing cabling must be full channel solution or equivalent | 0 | 0
1 | Labor for Turnkey Installation With Test Results | 0 | 0
|  | Total | 0
REQUESTED ITEM #14
PRICE EACH ITEM SEPARATELY
Quantity | Turnkey Installed Parts Description | Total Cost
1 | 7' Aluminum relay rack 19" mounting width | 0
1 | 7' Aluminum relay rack 23" mounting width | 0
1 | Vertical side wire manager front and back | 0
1 | Horizontal wire manager front and back | 0
1 | 24 port angled patch panel unloaded | 0
1 | 48 port angled patch panel unloaded | 0
1 | 3 meter OM4 Mutimode fiber patch cable | 0
1 | 3 meter single mode fiber patch cable | 0
1 | 3' Cat6a patch cord | 0
1 | 6' Cat6a patch cord | 0
| Total | 0
REQUESTED ITEM #15
250' 20amp Electrical Circiut from an existing panel to Class room.
Quantity | Turnkey Installed Parts Description | Unit Cost | Total Cost
1 | 750' of #10 Thhn Stranded | 0 | 0
25 | 10' x 3/4" EMT conduit. | 0 | 0
2 | 20 A, Commercial, Blue, TVSS Receptacles. | 0 | 0
1 | 20 amp Square D Breakers QOB | 0 | 0
1 | 1 1/4" firewall passage sleeves caulked with fire putty | 0 | 0
6 | 4" square 2-1/8" deep electrical box | 0 | 0
1 | Quad receptacle cover plate | 0 | 0
25 | 3/4" one hole clamps | 0 | 0
12 | 3/4" EMT Set Screw Connectors | 0 | 0
25 | 3/4" EMT Set Screw Couplings | 0 | 0
1 | Labor for Turnkey Installation With Test Results | 0 | 0
|  | Total | 0