## Table 1
Riverview RISES Matrix
Catergory |  |  | Priority
A | Architectural Modification |  | 1000 | Lighting Systems Modifications
HVAC | HVAC |  | 2000 | Boiler Plant Electrification and Equipment Replacement
PL | Plumbing |  | 2500 | Outdated Equipment to be replaced due to age.
EL | Electrical |  | 2550 | Outdated Equipment to be replaced - not required due to Boiler Plant electricfication
Exterior | Exterior Upgrades |  | 3000 | Solar Farm Installation
|  |  | 4000 | Exterior Upgrades with New Windows
Total SF of Building: 171,045
Project Number/ Item Number | Title | Description | Category | Priority | Estimated Savings | Estimated Cost (Installed) | Estimated Payback (Years) | Remarks
1001 | Replace Lighting |  | EL | 1000
1002 | Occupancy sensors - Room lights |  | EL | 1000
Summary |  | Total cost and savings for Lighting and controls and Replacement
2001 | Provide Air Cooled Heat Pump Chillers with water source heat recovery and Air Side heat rejection. |  | HVAC | 2000
xcvc | Replace Domestic Water Heater with heat pump system |  | PL | 2000
Summary |  | Total cost for Electrification and Replacement
Total cost and savings accomodating the items no longer required if Electricfication is performed.
2002 | New Refrig monitor |  | HVAC | 2500
2003 | New Refrig monitor exhaust system |  | HVAC | 2500
2004 | Add CO Sensors in any room where there is combustion, Includes Labs, Kitchen, and boiler rooms. |  | HVAC | 2500
2005 | Replace AHU-01 |  | HVAC | 2500
2006 | Replace AHU-02 |  | HVAC | 2500
2007 | Replace AHU-03 |  | HVAC | 2500
2008 | Replace AHU-04 |  | HVAC | 2500
2009 | Replace AHU-05 |  | HVAC | 2500
2010 | Replace AHU-06 |  | HVAC | 2500
2011 | Replace AHU-07 |  | HVAC | 2500
2012 | Replace AHU-08 |  | HVAC | 2500
2013 | Replace AHU-09 |  | HVAC | 2500
2014 | Replace AHU-10 |  | HVAC | 2500
2015 | Replace AHU-11 |  | HVAC | 2500
2016 | Replace AHU-12 |  | HVAC | 2500
2017 | Replace AHU-13 |  | HVAC | 2500
2018 | Replace AHU-14 |  | HVAC | 2500
2019 | Remove existing Office Chiller | Combine this chiller with the building system. | HVAC | 2500
2020 | Replace Chiller 1 - 275 Tons |  | HVAC | 2500
2021 | Upgrade control system | New bacnet control system to communicate, can be any manufacturer. Provide Water, Gas and Electric Metering through BAS. Add new Outdoor Air Sensors for system changeover. Exhaust fans controls, Outside lights, sign lighting, | HVAC | 2500
2022 | Add CO2 sensors for demand control of OSA on Air handlers. |  | HVAC | 2500
2023 | Project commissioning |  | HVAC | 2500
2024 | Replace FCUs (Typical 42 Units) | Replace old FCUs with new - Replace piping runouts to main. | HVAC | 2500
2025 | Replace Unit Ventilators (Typical 40 Units) | Replace old unit ventilators with new - Replace Piping runouts to main. | HVAC | 2500
2026 | Replace Pump CWP1 - Call CWP-1A |  | HVAC | 2500
2027 | Replace Pump CWP1 - Call CWP-1B |  | HVAC | 2500
2028 | Replace Pump CHWSP-1 with SCHWP-1 With VFD |  | HVAC | 2500
2029 | Replace Pump CHWSP-2 with SCHWP-2 With VFD |  | HVAC | 2500
2030 | Replace Pump CHWP-1 with new PCHWP-1 Primary CHW with VFD - dedicate to chiller 1 |  | HVAC | 2500
2031 | Replace Pump CHWP-2 with new PCHWP-2 Primary CHW with VFD - dedicate to chiller 1 |  | HVAC | 2500
2032 | Add new pump HPCHWP-1 with VFD |  | HVAC | 2500
2033 | Add new pump HPCHWP-2 with VFD |  | HVAC | 2500
2034 | Replace Pumps HWP-1 With new HPHWP-1 VFD Pump |  | HVAC | 2500
2035 | Replace Pumps HWP-2 With new HPHWP-2 VFD Pump |  | HVAC | 2500
2036 | Provide new HPHWP-3 with VFD for domestic water heater |  | HVAC | 2500
2037 | Replace Pumps HWSP-1 With new SHWP-1 VFD Pump |  | HVAC | 2500
2038 | Replace Pumps HWSP-2 With new SHWP-2 VFD Pump |  | HVAC | 2500
2039 | Replace Pumps P-5 - Remove this pump - combine with the Secondary CHW for the building |  | HVAC | 2500
2040 | Replace chiller piping in central Plant |  | HVAC | 2500
2041 | Replace Existing hot water Unit Heaters |  | HVAC | 2500
2042 | New Exhaust Fans - Provide interlock to the new control systems |  | HVAC | 2500
Summary |  | Total cost for equipment to be replaced even when Electricfication is completed
2043 | Replace Chiller 2 - 275 Tons |  | HVAC | 2550
2044 | Replace B-1 and B-2 |  | HVAC | 2550
2045 | Replace existing Outdoor air louvers for Unit Ventilators. |  | HVAC | 2550
2046 | Replace Domestic Water Heater | Replace with condensing boilers | PL | 2550
2047 | Fire Rated Room for Boilers/Domestic Water Heaters |  |  | 2550
Summary |  | Total cost for equipment which will not be required if electricfication is completed (included with the electricfication costs)
Total cost for equipment to be replaced if Electricfication is not completed
3001 | Electrical Solar | Provide Photovotaic system with inverters to feed the pad mount transformers with separate meter for utility credits back to owner. | EL | 3000
4001 | Replace Windows | Add 2 pane with glazing per SCS requirements. Incorporate the economizer relief with the window system replacement. Also, see if new control systems and Unit Ventilators will eliminate some of these energy problems. | A | 4000
Performance Bond (100% of project cost - provide the % amount only)
Total Project costs
Total project costs if Electrification is not performed:
Added cost for electrification